STERILE MEDICAL DEVICE & HERMETIC SURGICAL PACKAGING INTEGRITY PROTOCOL

ENTERPRISE SERVICE LEVEL AGREEMENT & STANDARD OPERATING PROCEDURE

# 1. Document Header & Scope

| Document ID | QA-SOP-2026-018-SURG |
| --- | --- |
| Effective Date | September 15, 2026 |
| Controlling Department | Surgical Device Quality Assurance & Medical Device Regulatory Affairs |
| Material Classification | Sterile Veterinary Surgical Supplies, Suture Packs, & Implants (MARA-MATKL = SURGICAL) |
| Target SAP Tables / Fields | MARA (MATNR, MATKL = 'SURGICAL'), LIPS (LFIMG, VRKME), LIKP (VBELN) |

# 2. Commercial Purpose & Operational Context

Establishes physical packaging standards, transit vibration thresholds, and zero-tolerance breach protocols for sterile medical devices, veterinary surgical suture packs, orthopedic implants, and sterile procedure sets. Ensures strict compliance with ISO 11607 packaging standards to eliminate post-operative infection risks in animal patients.

# 3. Key Definitions & Operational Thresholds

• Hermetic Sterile Barrier: The primary sealed pouch or thermoformed blister pack engineered to prevent microbial ingress under ambient atmospheric pressure.

• Micro-Puncture Defect: Any breach, pinhole, tear, or channel seal separation in the sterile barrier exceeding 50 microns.

• Crush Compromise: Deformation of outer corrugated packaging exceeding 20% vertical compression that compromises secondary sterile barrier integrity.

# 4. Core Binding SLA / Policy Clauses

4.1 Zero-Tolerance Sterility Mandate
Because compromised packaging can lead to fatal systemic animal sepsis, any physical tear, puncture, moisture absorption, or seal separation results in mandatory 100% batch rejection.

4.2 Top-Load Stacking Prohibition
Cartons labeled 'SURGICAL / STERILE - DO NOT DOUBLE STACK' must be placed strictly on top tier of pallets. Double-stacking pallet freight atop sterile goods is a contractual violation.

4.3 Moisture & Condensation Barrier
Sterile packaging must remain bone dry. Water-stained cartons, condensation droplets, or humidity exposure exceeding 80% RH require immediate quarantine.

# 5. Financial Matrices, Penalties & Liability Caps

• Full Batch Rejection Liability: Carrier liable for 100% invoice value of all cartons displaying crush or moisture damage (MARA-NETPR * quantity).

• Emergency Surgical Courier Expedited Fee: Up to $750.00 USD dedicated hotshot courier cost to deliver replacement sutures to scheduled surgeries.

• Sterile Scrappage Assessment: Carrier pays $200.00 USD certified medical waste disposal and destruction processing fee.

# 6. Exceptional Clauses & Relief Criteria

• Secondary Carton Cosmetic Blemish: Superficial scuffing or tape peeling on tertiary outer shipper cartons is acceptable provided primary pouch passes dye-penetration inspection.

• Pre-Shipment Warehouse Exception: If warehouse WMS inspection photos prove damage existed prior to carrier tender, carrier is fully exonerated.

# 7. Autonomous AI Enforcement & System of Record Actions

• Consignee receiving dock logs 'Damp or Crushed Surgical Box': Copilot immediately issues replacement delivery order in SAP, applies full chargeback to delivering carrier.

• Carrier driver photographs damaged outer crate: Immediate SAP credit memo generated to clinic within 1 hour.